## Report
Analyzed by:
Element Analysis Report
[11 empty] | Analyzed Date: |  | 1/30/2023 2:33 PM
1. Sample Information
Sample name |  |  | DATA NAME 03
Method |  |  | Solution simple |  |  | ( | 5/20/2022 9:39 AM |  |  | )
No Sample Image
2. Analysis Results
No. | Component | Analyzed value |  | Unit | Statistics error |  | L.L.D. | L.L.Q. | Analytical line |  |  | Condition name |  | Intensity(cps/mA)
1 | Total | 885 |  | mg/cm2
2 | H2O | 98.8 |  | mass%
3 | Fe | 8750 |  | ppm | 22.5 |  | 3.89 | 11.7
4 | Ca | 1030 |  | ppm | 46.3 |  | 88.8 | 266
5 | Si | 845 |  | ppm | 12.9 |  | 25.7 | 77.1
6 | Zn | 545 |  | ppm | 2.80 |  | 1.02 | 3.06
7 | Cl | 285 |  | ppm | 2.74 |  | 6.62 | 19.8
8 | S | 206 |  | ppm | 3.40 |  | 8.46 | 25.4
9 | Ni | 168 |  | ppm | 2.28 |  | 2.08 | 6.24
10 | Mn | 75.7 |  | ppm | 3.77 |  | 7.74 | 23.2
11 | Ba | 61.4 |  | ppm | 4.89 |  | 13.9 | 41.8
12 | As | 39.8 |  | ppm | 0.492 |  | 0.414 | 1.24
13 | Cd | 21.7 |  | ppm | 0.785 |  | 1.95 | 5.85
14 | Co | (20.7) |  | ppm | 4.25 |  | 12.4 | 37.3
15 | Cu | 17.5 |  | ppm | 0.804 |  |  | 4.84
16 | Sr | 3.31 |  | ppm | 0.204 |  | 0.551 | 1.65
17 | Cr | ND |  | ppm | 3.76 |  | 10.9 | 32.6
18 | Ag | (2.44) |  | ppm | 0.521 |  | 1.48 | 4.44
19 | Br | ND |  | ppm | 0.133 |  | 0.383 | 1.15
20 | Y | ND |  | ppm | 0.227 |  | 0.686 | 2.06
21 | Sb | ND |  | ppm | 1.28 |  | 3.90 | 11.7
22 | Au | ND |  | ppm | 1.11 |  | 3.34 | 10.0
23 | Sc | ND |  | ppm | 16.4 |  | 52.7 | 158
24 | Al | ND |  | ppm
25 | P | ND |  | ppm
26 | K | ND |  | ppm
27 | Ti | ND |  | ppm
28 | V | ND |  | ppm
29 | Se | ND |  | ppm
30 | Rb | ND |  | ppm
31 | Zr | ND |  | ppm
32 | Mo | ND |  | ppm
33 | Ru | ND |  | ppm
34 | Rh | ND |  | ppm
35 | Pd | ND |  | ppm
36 | Sn | ND |  | ppm
37 | Pt | ND |  | ppm
38 | Pb | ND |  | ppm
39 | Na | ND |  | ppm
40 | Mg | ND |  | ppm
<<Notes>>
3. Sample Spectrum